## home
Home
Jelgava Iela Petera Brieza
Plan | 013 -
Timingset | 1
Time | 2025-11-04 13:09
Alarms | UNIT,FT
ImFlow | NO CONNECTION
Stream 1
State | CONTROL
Cycle | 63 (0)
Mode (Stage) | HCH (0)

## logbooks
Program
Filter: All
1 | 20251011:234151 DIM ERR (0)
2 | 20251011:093519 198:IMFLOW-1 FORCE LOCAL ON
3 | 20251010:234230 X1-S6:CONTROL
4 | 20251010:234220 X1-S5:ALL RED
5 | 20251010:234216 X1-S4:SWITCH ON
6 | 20251010:234201 X1-S3:FLASH
7 | 20251010:234201 X1-S2:FLASH
8 | 20251010:234201 X1-S1:LAMPS OFF
9 | 20251010:234157 238:DOOR CLOSED
10 | 20251010:234153 PLAN 13
11 | 20251010:234153 239:DOOR CP OPEN
12 | 20251010:234153 238:DOOR OPEN
13 | 20251010:234153 247:PROGRAM 1
14 | 20251010:234153 253:MAINS ON
15 | 20251010:234047 X1-S0:LAMPS OFF
16 | 20251010:234047 000:POWERFAIL
17 | 20251009:073717 DIM ERR (0)
18 | 20251008:073756 X1-S6:CONTROL
19 | 20251008:073746 X1-S5:ALL RED
20 | 20251008:073742 X1-S4:SWITCH ON
21 | 20251008:073727 X1-S3:FLASH
22 | 20251008:073727 X1-S2:FLASH
23 | 20251008:073727 X1-S1:LAMPS OFF
24 | 20251008:073723 238:DOOR CLOSED
25 | 20251008:073718 PLAN 13
26 | 20251008:073718 239:DOOR CP OPEN
27 | 20251008:073718 238:DOOR OPEN
28 | 20251008:073718 247:PROGRAM 1
29 | 20251008:073718 253:MAINS ON
30 | 20251008:073613 X1-S0:LAMPS OFF
31 | 20251008:073613 000:POWERFAIL
32 | 20251005:001427 DIM ERR (0)
33 | 20251004:001601 X1-S6:CONTROL
34 | 20251004:001551 X1-S5:ALL RED
35 | 20251004:001547 X1-S4:SWITCH ON
36 | 20251004:001532 X1-S3:FLASH
37 | 20251004:001532 X1-S2:FLASH
38 | 20251004:001532 X1-S1:LAMPS OFF
39 | 20251004:001529 202:RESET ALARMS
40 | 20251004:001528 213:AUTO-RESET
41 | 20251004:001433 238:DOOR CLOSED
42 | 20251004:001429 255:FATAL ALARM
43 | 20251004:001429 014:CPU-B COM CPU-A
44 | 20251004:001429 013:CPU-B LOC-LOC
45 | 20251004:001429 007:CPU-B LOT SLOW
46 | 20251004:001429 006:CPU-B LCM DIAG
47 | 20251004:001429 000:POWERFAIL
48 | 20251004:001429 PLAN 13
49 | 20251004:001429 239:DOOR CP OPEN
50 | 20251004:001429 238:DOOR OPEN
51 | 20251004:001429 247:PROGRAM 1
52 | 20251004:001429 253:MAINS ON
53 | 20250912:033311 X1-S6:CONTROL
54 | 20250912:033301 X1-S5:ALL RED
55 | 20250912:033257 X1-S4:SWITCH ON
56 | 20250912:033242 X1-S3:FLASH
57 | 20250912:033242 X1-S2:FLASH
58 | 20250912:033241 X1-S1:LAMPS OFF
59 | 20250912:033239 X1-S0:LAMPS OFF
60 | 20250912:033239 001:MAINS LOW
61 | 20250911:142508 X1-S6:CONTROL
62 | 20250911:142458 X1-S5:ALL RED
63 | 20250911:142454 X1-S4:SWITCH ON
64 | 20250911:142439 X1-S3:FLASH
65 | 20250911:142439 X1-S2:FLASH
66 | 20250911:142439 X1-S1:LAMPS OFF
67 | 20250911:142437 X1-S0:LAMPS OFF
68 | 20250911:142436 001:MAINS LOW
69 | 20250911:142302 X1-S6:CONTROL
70 | 20250911:142252 X1-S5:ALL RED
71 | 20250911:142248 X1-S4:SWITCH ON
72 | 20250911:142233 X1-S3:FLASH
73 | 20250911:142233 X1-S2:FLASH
74 | 20250911:142232 X1-S1:LAMPS OFF
75 | 20250911:142230 X1-S0:LAMPS OFF
76 | 20250911:142230 001:MAINS LOW
77 | 20250911:142015 X1-S6:CONTROL
78 | 20250911:142005 X1-S5:ALL RED
79 | 20250911:142001 X1-S4:SWITCH ON
80 | 20250911:141946 X1-S3:FLASH
81 | 20250911:141946 X1-S2:FLASH
82 | 20250911:141945 X1-S1:LAMPS OFF
83 | 20250911:141943 X1-S0:LAMPS OFF
84 | 20250911:141943 001:MAINS LOW
85 | 20250829:121953 DIM ERR (0)
86 | 20250828:122128 X1-S6:CONTROL
87 | 20250828:122118 X1-S5:ALL RED
88 | 20250828:122114 X1-S4:SWITCH ON
89 | 20250828:122059 X1-S3:FLASH
90 | 20250828:122059 X1-S2:FLASH
91 | 20250828:122058 X1-S1:LAMPS OFF
92 | 20250828:122055 202:RESET ALARMS
93 | 20250828:122055 213:AUTO-RESET
94 | 20250828:122000 238:DOOR CLOSED
95 | 20250828:121956 255:FATAL ALARM
96 | 20250828:121956 014:CPU-B COM CPU-A
97 | 20250828:121956 013:CPU-B LOC-LOC
98 | 20250828:121956 007:CPU-B LOT SLOW
99 | 20250828:121956 006:CPU-B LCM DIAG
100 | 20250828:121956 000:POWERFAIL
101 | 20250828:121956 PLAN 13
102 | 20250828:121956 239:DOOR CP OPEN
103 | 20250828:121956 238:DOOR OPEN
104 | 20250828:121956 247:PROGRAM 1
105 | 20250828:121956 253:MAINS ON
106 | 20250724:032910 DIM ERR (0)
107 | 20250723:033045 X1-S6:CONTROL
108 | 20250723:033035 X1-S5:ALL RED
109 | 20250723:033031 X1-S4:SWITCH ON
110 | 20250723:033016 X1-S3:FLASH
111 | 20250723:033016 X1-S2:FLASH
112 | 20250723:033015 X1-S1:LAMPS OFF
113 | 20250723:033012 202:RESET ALARMS
114 | 20250723:033012 213:AUTO-RESET
115 | 20250723:032917 238:DOOR CLOSED
116 | 20250723:032913 255:FATAL ALARM
117 | 20250723:032913 014:CPU-B COM CPU-A
118 | 20250723:032913 013:CPU-B LOC-LOC
119 | 20250723:032913 007:CPU-B LOT SLOW
120 | 20250723:032913 006:CPU-B LCM DIAG
121 | 20250723:032913 000:POWERFAIL
122 | 20250723:032913 PLAN 13
123 | 20250723:032913 239:DOOR CP OPEN
124 | 20250723:032913 238:DOOR OPEN
125 | 20250723:032913 247:PROGRAM 1
126 | 20250723:032913 253:MAINS ON
127 | 20250720:202217 X1-S6:CONTROL
128 | 20250720:202207 X1-S5:ALL RED
129 | 20250720:202203 X1-S4:SWITCH ON
130 | 20250720:202148 X1-S3:FLASH
131 | 20250720:202148 X1-S2:FLASH
132 | 20250720:202147 X1-S1:LAMPS OFF
133 | 20250720:202145 X1-S0:LAMPS OFF
134 | 20250720:202145 001:MAINS LOW
135 | 20250720:201824 X1-S6:CONTROL
136 | 20250720:201814 X1-S5:ALL RED
137 | 20250720:201810 X1-S4:SWITCH ON
138 | 20250720:201755 X1-S3:FLASH
139 | 20250720:201755 X1-S2:FLASH
140 | 20250720:201754 X1-S1:LAMPS OFF
141 | 20250720:201752 X1-S0:LAMPS OFF
142 | 20250720:201751 001:MAINS LOW
143 | 20250720:201739 X1-S3:FLASH
144 | 20250720:201739 X1-S2:FLASH
145 | 20250720:201738 X1-S1:LAMPS OFF
146 | 20250720:201736 X1-S0:LAMPS OFF
147 | 20250720:201736 001:MAINS LOW
148 | 20250717:173433 X1-S6:CONTROL
149 | 20250717:173423 X1-S5:ALL RED
150 | 20250717:173419 X1-S4:SWITCH ON
151 | 20250717:173404 X1-S3:FLASH
152 | 20250717:173404 X1-S2:FLASH
153 | 20250717:173403 X1-S1:LAMPS OFF
154 | 20250717:173401 X1-S0:LAMPS OFF
155 | 20250717:173401 001:MAINS LOW
156 | 20250717:145917 X1-S6:CONTROL
157 | 20250717:145907 X1-S5:ALL RED
158 | 20250717:145903 X1-S4:SWITCH ON
159 | 20250717:145848 X1-S3:FLASH
160 | 20250717:145848 X1-S2:FLASH
161 | 20250717:145847 X1-S1:LAMPS OFF
162 | 20250717:145845 X1-S0:LAMPS OFF
163 | 20250717:145845 001:MAINS LOW
164 | 20250617:162620 DIM ERR (0)
165 | 20250616:162755 X1-S6:CONTROL
166 | 20250616:162745 X1-S5:ALL RED
167 | 20250616:162741 X1-S4:SWITCH ON
168 | 20250616:162726 X1-S3:FLASH
169 | 20250616:162726 X1-S2:FLASH
170 | 20250616:162725 X1-S1:LAMPS OFF
171 | 20250616:162722 202:RESET ALARMS
172 | 20250616:162722 213:AUTO-RESET
173 | 20250616:162627 238:DOOR CLOSED
174 | 20250616:162623 255:FATAL ALARM
175 | 20250616:162623 014:CPU-B COM CPU-A
176 | 20250616:162623 013:CPU-B LOC-LOC
177 | 20250616:162623 007:CPU-B LOT SLOW
178 | 20250616:162623 006:CPU-B LCM DIAG
179 | 20250616:162623 000:POWERFAIL
180 | 20250616:162623 PLAN 13
181 | 20250616:162623 239:DOOR CP OPEN
182 | 20250616:162623 238:DOOR OPEN
183 | 20250616:162623 247:PROGRAM 1
184 | 20250616:162623 253:MAINS ON
185 | 20250527:163704 X1-S6:CONTROL
186 | 20250527:163654 X1-S5:ALL RED
187 | 20250527:163650 X1-S4:SWITCH ON
188 | 20250527:163635 X1-S3:FLASH
189 | 20250527:163635 X1-S2:FLASH
190 | 20250527:163634 X1-S1:LAMPS OFF
191 | 20250527:163632 X1-S0:LAMPS OFF
192 | 20250527:163632 000:POWERFAIL
193 | 20250511:183711 DIM ERR (0)
194 | 20250510:183845 X1-S6:CONTROL
195 | 20250510:183835 X1-S5:ALL RED
196 | 20250510:183831 X1-S4:SWITCH ON
197 | 20250510:183816 X1-S3:FLASH
198 | 20250510:183816 X1-S2:FLASH
199 | 20250510:183815 X1-S1:LAMPS OFF
200 | 20250510:183812 202:RESET ALARMS
201 | 20250510:183812 213:AUTO-RESET
202 | 20250510:183717 238:DOOR CLOSED
203 | 20250510:183713 255:FATAL ALARM
204 | 20250510:183713 014:CPU-B COM CPU-A
205 | 20250510:183713 013:CPU-B LOC-LOC
206 | 20250510:183713 007:CPU-B LOT SLOW
207 | 20250510:183713 006:CPU-B LCM DIAG
208 | 20250510:183713 000:POWERFAIL
209 | 20250510:183713 PLAN 13
210 | 20250510:183713 239:DOOR CP OPEN
211 | 20250510:183713 238:DOOR OPEN
212 | 20250510:183713 247:PROGRAM 1
213 | 20250510:183713 253:MAINS ON
214 | 20250411:085921 X1-S6:CONTROL
215 | 20250411:085911 X1-S5:ALL RED
216 | 20250411:085907 X1-S4:SWITCH ON
217 | 20250411:085852 X1-S3:FLASH
218 | 20250411:085852 X1-S2:FLASH
219 | 20250411:085851 X1-S1:LAMPS OFF
220 | 20250411:085849 X1-S0:LAMPS OFF
221 | 20250411:085849 X1-S3:FLASH
222 | 20250411:085849 X1-S2:FLASH
223 | 20250411:085848 X1-S1:LAMPS OFF
224 | 20250411:085846 X1-S0:LAMPS OFF
225 | 20250411:085846 001:MAINS LOW
226 | 20250405:082429 DIM ERR (0)
227 | 20250404:082604 X1-S6:CONTROL
228 | 20250404:082554 X1-S5:ALL RED
229 | 20250404:082550 X1-S4:SWITCH ON
230 | 20250404:082535 X1-S3:FLASH
231 | 20250404:082535 X1-S2:FLASH
232 | 20250404:082534 X1-S1:LAMPS OFF
233 | 20250404:082531 202:RESET ALARMS
234 | 20250404:082531 213:AUTO-RESET
235 | 20250404:082436 238:DOOR CLOSED
236 | 20250404:082432 255:FATAL ALARM
237 | 20250404:082432 014:CPU-B COM CPU-A
238 | 20250404:082432 013:CPU-B LOC-LOC
239 | 20250404:082432 007:CPU-B LOT SLOW
240 | 20250404:082432 006:CPU-B LCM DIAG
241 | 20250404:082432 000:POWERFAIL
242 | 20250404:082432 PLAN 13
243 | 20250404:082432 239:DOOR CP OPEN
244 | 20250404:082432 238:DOOR OPEN
245 | 20250404:082432 247:PROGRAM 1
246 | 20250404:082432 253:MAINS ON
247 | 20250330:130051 X1-S6:CONTROL
248 | 20250330:130041 X1-S5:ALL RED
249 | 20250330:130037 X1-S4:SWITCH ON
250 | 20250330:130022 X1-S3:FLASH
251 | 20250330:130022 X1-S2:FLASH
252 | 20250330:130021 X1-S1:LAMPS OFF
253 | 20250330:130019 X1-S0:LAMPS OFF
254 | 20250330:130019 000:POWERFAIL
255 | 20250301:205612 DIM ERR (0)
256 | 20250228:205652 X1-S6:CONTROL
257 | 20250228:205642 X1-S5:ALL RED
258 | 20250228:205638 X1-S4:SWITCH ON
259 | 20250228:205623 X1-S3:FLASH
260 | 20250228:205623 X1-S2:FLASH
261 | 20250228:205622 X1-S1:LAMPS OFF
262 | 20250228:205618 238:DOOR CLOSED
263 | 20250228:205614 PLAN 13
264 | 20250228:205614 239:DOOR CP OPEN
265 | 20250228:205614 238:DOOR OPEN
266 | 20250228:205614 247:PROGRAM 1
267 | 20250228:205614 253:MAINS ON
268 | 20250228:205406 X1-S0:LAMPS OFF
269 | 20250228:205406 000:POWERFAIL
270 | 20250216:114903 DIM ERR (0)
271 | 20250215:120344 202:RESET ALARMS
272 | 20250215:115038 X1-S6:CONTROL
273 | 20250215:115028 X1-S5:ALL RED
274 | 20250215:115024 X1-S4:SWITCH ON
275 | 20250215:115009 X1-S3:FLASH
276 | 20250215:115009 X1-S2:FLASH
277 | 20250215:115008 X1-S1:LAMPS OFF
278 | 20250215:115005 202:RESET ALARMS
279 | 20250215:115005 213:AUTO-RESET
280 | 20250215:114910 238:DOOR CLOSED
281 | 20250215:114906 255:FATAL ALARM
282 | 20250215:114906 014:CPU-B COM CPU-A
283 | 20250215:114906 013:CPU-B LOC-LOC
284 | 20250215:114906 007:CPU-B LOT SLOW
285 | 20250215:114906 006:CPU-B LCM DIAG
286 | 20250215:114906 000:POWERFAIL
287 | 20250215:114906 PLAN 13
288 | 20250215:114906 239:DOOR CP OPEN
289 | 20250215:114906 238:DOOR OPEN
290 | 20250215:114906 247:PROGRAM 1
291 | 20250215:114906 253:MAINS ON
292 | 20250111:104336 DIM ERR (0)
293 | 20250110:104511 X1-S6:CONTROL
294 | 20250110:104501 X1-S5:ALL RED
295 | 20250110:104457 X1-S4:SWITCH ON
296 | 20250110:104442 X1-S3:FLASH
297 | 20250110:104442 X1-S2:FLASH
298 | 20250110:104441 X1-S1:LAMPS OFF
299 | 20250110:104438 202:RESET ALARMS
300 | 20250110:104438 213:AUTO-RESET
301 | 20250110:104343 238:DOOR CLOSED
302 | 20250110:104339 255:FATAL ALARM
303 | 20250110:104339 014:CPU-B COM CPU-A
304 | 20250110:104339 013:CPU-B LOC-LOC
305 | 20250110:104339 007:CPU-B LOT SLOW
306 | 20250110:104339 006:CPU-B LCM DIAG
307 | 20250110:104339 000:POWERFAIL
308 | 20250110:104339 PLAN 13
309 | 20250110:104339 239:DOOR CP OPEN
310 | 20250110:104339 238:DOOR OPEN
311 | 20250110:104339 247:PROGRAM 1
312 | 20250110:104339 253:MAINS ON
313 | 20250104:043231 X1-S6:CONTROL
314 | 20250104:043221 X1-S5:ALL RED
315 | 20250104:043217 X1-S4:SWITCH ON
316 | 20250104:043202 X1-S3:FLASH
317 | 20250104:043202 X1-S2:FLASH
318 | 20250104:043201 X1-S1:LAMPS OFF
319 | 20250104:043159 X1-S0:LAMPS OFF
320 | 20250104:043159 001:MAINS LOW
321 | 20250102:000924 X1-S6:CONTROL
322 | 20250102:000914 X1-S5:ALL RED
323 | 20250102:000910 X1-S4:SWITCH ON
324 | 20250102:000855 X1-S3:FLASH
325 | 20250102:000855 X1-S2:FLASH
326 | 20250102:000854 X1-S1:LAMPS OFF
327 | 20250102:000852 X1-S0:LAMPS OFF
328 | 20250102:000851 X1-S1:LAMPS OFF
329 | 20250102:000849 X1-S0:LAMPS OFF
330 | 20250102:000849 001:MAINS LOW
331 | 20241226:171340 X1-S6:CONTROL
332 | 20241226:171330 X1-S5:ALL RED
333 | 20241226:171326 X1-S4:SWITCH ON
334 | 20241226:171311 X1-S3:FLASH
335 | 20241226:171311 X1-S2:FLASH
336 | 20241226:171311 X1-S1:LAMPS OFF
337 | 20241226:171309 X1-S0:LAMPS OFF
338 | 20241226:171309 001:MAINS LOW
339 | 20241219:163641 X1-S6:CONTROL
340 | 20241219:163631 X1-S5:ALL RED
341 | 20241219:163627 X1-S4:SWITCH ON
342 | 20241219:163612 X1-S3:FLASH
343 | 20241219:163612 X1-S2:FLASH
344 | 20241219:163611 X1-S1:LAMPS OFF
345 | 20241219:163609 X1-S0:LAMPS OFF
346 | 20241219:163609 001:MAINS LOW
347 | 20241216:073927 X1-S6:CONTROL
348 | 20241216:073917 X1-S5:ALL RED
349 | 20241216:073913 X1-S4:SWITCH ON
350 | 20241216:073858 X1-S3:FLASH
351 | 20241216:073858 X1-S2:FLASH
352 | 20241216:073857 X1-S1:LAMPS OFF
353 | 20241216:073855 X1-S0:LAMPS OFF
354 | 20241216:073855 001:MAINS LOW
355 | 20241214:101833 X1-S6:CONTROL
356 | 20241214:101823 X1-S5:ALL RED
357 | 20241214:101819 X1-S4:SWITCH ON
358 | 20241214:101804 X1-S3:FLASH
359 | 20241214:101804 X1-S2:FLASH
360 | 20241214:101803 X1-S1:LAMPS OFF
361 | 20241214:101801 X1-S0:LAMPS OFF
362 | 20241214:101801 001:MAINS LOW
363 | 20241206:011114 DIM ERR (0)
364 | 20241205:011249 X1-S6:CONTROL
365 | 20241205:011239 X1-S5:ALL RED
366 | 20241205:011235 X1-S4:SWITCH ON
367 | 20241205:011220 X1-S3:FLASH
368 | 20241205:011220 X1-S2:FLASH
369 | 20241205:011219 X1-S1:LAMPS OFF
370 | 20241205:011216 202:RESET ALARMS
371 | 20241205:011216 213:AUTO-RESET
372 | 20241205:011121 238:DOOR CLOSED
373 | 20241205:011117 255:FATAL ALARM
374 | 20241205:011117 014:CPU-B COM CPU-A
375 | 20241205:011117 013:CPU-B LOC-LOC
376 | 20241205:011117 007:CPU-B LOT SLOW
377 | 20241205:011117 006:CPU-B LCM DIAG
378 | 20241205:011117 000:POWERFAIL
379 | 20241205:011117 PLAN 13
380 | 20241205:011117 239:DOOR CP OPEN
381 | 20241205:011117 238:DOOR OPEN
382 | 20241205:011117 247:PROGRAM 1
383 | 20241205:011117 253:MAINS ON
384 | 20241120:122345 X1-S6:CONTROL
385 | 20241120:122335 X1-S5:ALL RED
386 | 20241120:122331 X1-S4:SWITCH ON
387 | 20241120:122316 X1-S3:FLASH
388 | 20241120:122316 X1-S2:FLASH
389 | 20241120:122315 X1-S1:LAMPS OFF
390 | 20241120:122313 X1-S0:LAMPS OFF
391 | 20241120:122313 001:MAINS LOW
392 | 20241030:121030 X1-S6:CONTROL
393 | 20241030:121020 X1-S5:ALL RED
394 | 20241030:121016 X1-S4:SWITCH ON
395 | 20241030:121001 X1-S3:FLASH
396 | 20241030:121001 X1-S2:FLASH
397 | 20241030:121001 X1-S1:LAMPS OFF
398 | 20241030:120959 X1-S0:LAMPS OFF
399 | 20241030:120959 001:MAINS LOW
400 | 20241030:112332 DIM ERR (0)
401 | 20241029:112412 X1-S6:CONTROL
402 | 20241029:112402 X1-S5:ALL RED
403 | 20241029:112358 X1-S4:SWITCH ON
404 | 20241029:112343 X1-S3:FLASH
405 | 20241029:112343 X1-S2:FLASH
406 | 20241029:112343 X1-S1:LAMPS OFF
407 | 20241029:112339 238:DOOR CLOSED
408 | 20241029:112334 PLAN 13
409 | 20241029:112334 239:DOOR CP OPEN
410 | 20241029:112334 238:DOOR OPEN
411 | 20241029:112334 247:PROGRAM 1
412 | 20241029:112334 253:MAINS ON
413 | 20241029:110845 X1-S0:LAMPS OFF
414 | 20241029:110845 000:POWERFAIL
415 | 20241009:112145 DIM ERR (0)
416 | 20241008:112225 X1-S6:CONTROL
417 | 20241008:112215 X1-S5:ALL RED
418 | 20241008:112211 X1-S4:SWITCH ON
419 | 20241008:112156 X1-S3:FLASH
420 | 20241008:112156 X1-S2:FLASH
421 | 20241008:112155 X1-S1:LAMPS OFF
422 | 20241008:112151 238:DOOR CLOSED
423 | 20241008:112147 PLAN 13
424 | 20241008:112147 239:DOOR CP OPEN
425 | 20241008:112147 238:DOOR OPEN
426 | 20241008:112147 247:PROGRAM 1
427 | 20241008:112147 253:MAINS ON
428 | 20241008:111434 X1-S0:LAMPS OFF
429 | 20241008:111434 000:POWERFAIL
430 | 20241002:110340 X1-S6:CONTROL
431 | 20241002:110330 X1-S5:ALL RED
432 | 20241002:110326 X1-S4:SWITCH ON
433 | 20241002:110311 X1-S3:FLASH
434 | 20241002:110311 X1-S2:FLASH
435 | 20241002:110311 X1-S1:LAMPS OFF
436 | 20241002:110309 X1-S0:LAMPS OFF
437 | 20241002:110308 001:MAINS LOW
438 | 20241001:092149 DIM ERR (0)
439 | 20240930:092324 X1-S6:CONTROL
440 | 20240930:092314 X1-S5:ALL RED
441 | 20240930:092310 X1-S4:SWITCH ON
442 | 20240930:092256 202:RESET ALARMS
443 | 20240930:092255 X1-S3:FLASH
444 | 20240930:092255 X1-S2:FLASH
445 | 20240930:092254 X1-S1:LAMPS OFF
446 | 20240930:092251 202:RESET ALARMS
447 | 20240930:092251 213:AUTO-RESET
448 | 20240930:092157 238:DOOR CLOSED
449 | 20240930:092152 255:FATAL ALARM
450 | 20240930:092152 014:CPU-B COM CPU-A
451 | 20240930:092152 013:CPU-B LOC-LOC
452 | 20240930:092152 007:CPU-B LOT SLOW
453 | 20240930:092152 006:CPU-B LCM DIAG
454 | 20240930:092152 000:POWERFAIL
455 | 20240930:092152 PLAN 13
456 | 20240930:092152 239:DOOR CP OPEN
457 | 20240930:092152 238:DOOR OPEN
458 | 20240930:092152 247:PROGRAM 1
459 | 20240930:092152 253:MAINS ON
460 | 20240906:010154 X1-S6:CONTROL
461 | 20240906:010142 X1-S5:ALL RED
462 | 20240906:010142 PLAN 13
463 | 20240831:235206 DIM ERR (0)
464 | 20240831:001700 X1-S6:CONTROL
465 | 20240831:001635 X1-S5:ALL RED
466 | 20240831:001635 PLAN 12
467 | 20240830:235332 X1-S6:CONTROL
468 | 20240830:235322 X1-S5:ALL RED
469 | 20240830:235318 X1-S4:SWITCH ON
470 | 20240830:235303 X1-S3:FLASH
471 | 20240830:235303 X1-S2:FLASH
472 | 20240830:235303 X1-S1:LAMPS OFF
473 | 20240830:235300 202:RESET ALARMS
474 | 20240830:235214 238:DOOR CLOSED
475 | 20240830:235209 255:FATAL ALARM
476 | 20240830:235209 014:CPU-B COM CPU-A
477 | 20240830:235209 013:CPU-B LOC-LOC
478 | 20240830:235209 007:CPU-B LOT SLOW
479 | 20240830:235209 006:CPU-B LCM DIAG
480 | 20240830:235209 000:POWERFAIL
481 | 20240830:235209 PLAN 13
482 | 20240830:235209 246:RESET PROG PARM
483 | 20240830:235209 239:DOOR CP OPEN
484 | 20240830:235209 238:DOOR OPEN
485 | 20240830:235209 247:PROGRAM 1
486 | 20240830:235209 253:MAINS ON

## parametri
Signalgroup times |  |  |  |  | Application parameters |  |  |  |  | Detection settings | [7 empty] | Clearance times | [8 empty] | Planselection (day of week)
ID | Signalgroup | Minimum green | Amber | Red/Amber | ID | Name | Value | Min | Max | ID | Detector | DTO | DTC | GAP1 | GAP2 | Max. Unoccupied | Max. occupied |  | V1 | V4 | V7 | V10 | GP1 | GP4 | GP7 | GP10 | ID | Day | Time | Plan
1 | V1 | 5.0 | 3.0 | 2.0 | 1 | WYG_GP1 | 0 | 0 | 9999 | 1 | PB1 | 0.0 | 0.0 | 0.0 | 0.0 | 24:00 | 0:10 | V1 | - | 7.0 | - | 7.0 | 6.0 | - | 8.0 | - | 1 | MTWTFSS-- | 0:00 | 63
2 | V4 | 5.0 | 3.0 | 2.0 | 2 | WYG_GP4 | 0 | 0 | 9999 | 2 | PB4 | 0.0 | 0.0 | 0.0 | 0.0 | 24:00 | 0:10 | V4 | 6.0 | - | 6.0 | - | - | 6.0 | - | 8.0 | 2 | --------- | 0:00 | 1
3 | V7 | 5.0 | 3.0 | 2.0 | 3 | WYG_GP7 | 0 | 0 | 9999 | 3 | PB7 | 0.0 | 0.0 | 0.0 | 0.0 | 24:00 | 0:10 | V7 | - | 6.0 | - | 6.0 | 8.0 | - | 6.0 | - | 3 | --------- | 0:00 | 1
4 | V10 | 5.0 | 3.0 | 2.0 | 4 | WYG_GP10 | 0 | 0 | 9999 | 4 | PB10 | 0.0 | 0.0 | 0.0 | 0.0 | 24:00 | 0:10 | V10 | 6.0 | - | 6.0 | - | - | 8.0 | - | 6.0 | 4 | --------- | 0:00 | 1
5 | GP1 | 9.0 | 0.0 | 0.0 | 5 | REG_GP1 | 0 | 0 | 9999 | Legend | [7 empty] | GP1 | 8.0 | - | 7.0 | - | - | - | - | - | 5 | --------- | 0:00 | 1
6 | GP4 | 12.0 | 0.0 | 0.0 | 6 | REG_GP4 | 0 | 0 | 9999 | DTO | The time span which the Detector must be occupied before the Detector will report to the Signal Group. [s] | [6 empty] | GP4 | - | 10.0 | - | 8.0 | - | - | - | - | 6 | --------- | 0:00 | 1
7 | GP7 | 16.0 | 0.0 | 0.0 | 7 | REG_GP7 | 0 | 0 | 9999 | DTC | The time span which a detector must be unoccupied before an existing Detector signal will be withdrawn. | [6 empty] | GP7 | 11.0 | - | 13.0 | - | - | - | - | - | 7 | --------- | 0:00 | 1
8 | GP10 | 12.0 | 0.0 | 0.0 | 8 | REG_GP10 | 0 | 0 | 9999 | GAP1 | Time Gap 1 [s] | [6 empty] | GP10 | - | 9.0 | - | 10.0 | - | - | - | - | 8 | --------- | 0:00 | 1
Legend |  |  |  |  | 9 | HTTP_SEC | 20 | 10 | 9999 | GAP2 | Time Gap 2 [s] | [15 empty] | 9 | --------- | 0:00 | 1
Minimum green | Minimum green time [s] |  |  |  | 10 | SYNC_ACTIVE | 1 | 0 | 1 | Max. Unoccupied | Maximum Unoccupied Time [s] | [15 empty] | 10 | --------- | 0:00 | 1
Amber | Amber time [s] |  |  |  | 11 | Start_day_mode | 700 | 0 | 9999 | Max. occupied | Maximum Occupied Time [s] | [15 empty] | 11 | --------- | 0:00 | 1
Red/Amber | Red/amber time [s] |  |  |  | 12 | Start_night_mode | 2000 | 0 | 9999 | [17 empty] | 12 | --------- | 0:00 | 1
[5 empty] | 13 | Day_mode | 200 | 0 | 9999 | [17 empty] | 13 | --------- | 0:00 | 1
[5 empty] | 14 | Night_mode | 1200 | 0 | 9999 | [17 empty] | 14 | --------- | 0:00 | 1
[5 empty] | 15 | ACC_NONC | 2 | 1 | 2 | [17 empty] | 15 | --------- | 0:00 | 1
[5 empty] | 16 | TPRES | 30 | 0 | 9999 | [17 empty] | 16 | --------- | 0:00 | 1
[5 empty] | 17 | Start_3s_1 | 700 | 0 | 9999 | [17 empty] | 17 | --------- | 0:00 | 1
[5 empty] | 18 | End_3s_1 | 900 | 0 | 9999 | [17 empty] | 18 | --------- | 0:00 | 1
[5 empty] | 19 | Start_3s_2 | 1700 | 0 | 9999 | [17 empty] | 19 | --------- | 0:00 | 1
[5 empty] | 20 | End_3s_2 | 2200 | 0 | 9999 | [17 empty] | 20 | --------- | 0:00 | 1
[5 empty] | 21 | GRNCNTEND | 1 | 0 | 9999 | [17 empty] | 21 | --------- | 0:00 | 1
[5 empty] | 22 | INVERT_PB | 1 | 0 | 1 | [17 empty] | 22 | --------- | 0:00 | 1
[5 empty] | Legend | [21 empty] | 23 | --------- | 0:00 | 1
[5 empty] | Value | Value | [20 empty] | 24 | --------- | 0:00 | 1
[5 empty] | Min | Minimum value | [20 empty] | 25 | --------- | 0:00 | 1
[5 empty] | Max | Maximum value | [20 empty] | 26 | --------- | 0:00 | 1
[27 empty] | 27 | --------- | 0:00 | 1
[27 empty] | 28 | --------- | 0:00 | 1
[27 empty] | 29 | --------- | 0:00 | 1
[27 empty] | 30 | --------- | 0:00 | 1
[27 empty] | 31 | --------- | 0:00 | 1
[27 empty] | 32 | --------- | 0:00 | 1
[27 empty] | 33 | --------- | 0:00 | 1
[27 empty] | 34 | --------- | 0:00 | 1
[27 empty] | 35 | --------- | 0:00 | 1
[27 empty] | 36 | --------- | 0:00 | 1
[27 empty] | 37 | --------- | 0:00 | 1
[27 empty] | 38 | --------- | 0:00 | 1
[27 empty] | 39 | --------- | 0:00 | 1
[27 empty] | 40 | --------- | 0:00 | 1
[27 empty] | 41 | --------- | 0:00 | 1
[27 empty] | 42 | --------- | 0:00 | 1
[27 empty] | 43 | --------- | 0:00 | 1
[27 empty] | 44 | --------- | 0:00 | 1
[27 empty] | 45 | --------- | 0:00 | 1
[27 empty] | 46 | --------- | 0:00 | 1
[27 empty] | 47 | --------- | 0:00 | 1
[27 empty] | 48 | --------- | 0:00 | 1
[27 empty] | 49 | --------- | 0:00 | 1
[27 empty] | 50 | --------- | 0:00 | 1
[27 empty] | 51 | --------- | 0:00 | 1
[27 empty] | 52 | --------- | 0:00 | 1
[27 empty] | 53 | --------- | 0:00 | 1
[27 empty] | 54 | --------- | 0:00 | 1
[27 empty] | 55 | --------- | 0:00 | 1
[27 empty] | 56 | --------- | 0:00 | 1
[27 empty] | 57 | --------- | 0:00 | 1
[27 empty] | 58 | --------- | 0:00 | 1
[27 empty] | 59 | --------- | 0:00 | 1
[27 empty] | 60 | --------- | 0:00 | 1
[27 empty] | 61 | --------- | 0:00 | 1
[27 empty] | 62 | --------- | 0:00 | 1
[27 empty] | 63 | --------- | 0:00 | 1
[27 empty] | 64 | --------- | 0:00 | 1

## timing 1-24
Timingset parameters (1..8) | [12 empty] | Timingset parameters (9..16)
ID | Name | Default | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Min | Max | ID | Name | Default | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Min | Max
1 | Cycle | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 60 | 300 | 1 | Cycle | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 60 | 300
2 | Offset | 0 | 112 | 91 | 112 | 31 | 91 | 112 | 0 | 31 | 0 | 9999 | 2 | Offset | 0 | 91 | 112 | 31 | 91 | 112 | 31 | 91 | 112 | 0 | 9999
3 | MaxExt | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 0 | 9999 | 3 | MaxExt | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 0 | 9999
4 | F1f | 50 | 57 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 0 | 9999 | 4 | F1f | 50 | 57 | 57 | 60 | 60 | 63 | 57 | 57 | 57 | 0 | 9999
5 | F1cf | 10 | 7 | -1 | -1 | -1 | -1 | -1 | -1 | 7 | 0 | 9999 | 5 | F1cf | 10 | 7 | 7 | 4 | 4 | 4 | 7 | 7 | 7 | 0 | 9999
6 | F1af | 10 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 0 | 9999 | 6 | F1af | 10 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0 | 9999
7 | F2af | 10 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | -1 | 0 | 9999 | 7 | F2af | 10 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 0 | 9999
8 | F2f | 10 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 0 | 9999 | 8 | F2f | 10 | 12 | 12 | 9 | 9 | 9 | 12 | 12 | 12 | 0 | 9999
Legend | [12 empty] | Legend
Default | Default value | [11 empty] | Default | Default value
2025-08-01 | Value (-1 = default value) | [11 empty] | 2016-09-01 | Value (-1 = default value)
Min | Minimum value | [11 empty] | Min | Minimum value
Max | Maximum value | [11 empty] | Max | Maximum value
Timingset parameters (17..24)
ID | Name | Default | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | Min | Max
1 | Cycle | 120 | [8 empty] | 60 | 300 | bar: 17 to 24
2 | Offset | 0 | [8 empty] | 0 | 9999 | bar: 17 to 24
3 | MaxExt | 60 | [8 empty] | 0 | 9999 | bar: 17 to 24
4 | F1f | 50 | [8 empty] | 0 | 9999 | bar: 17 to 24
5 | F1cf | 10 | [8 empty] | 0 | 9999 | bar: 17 to 24
6 | F1af | 10 | [8 empty] | 0 | 9999 | bar: 17 to 24
7 | F2af | 10 | [8 empty] | 0 | 9999 | bar: 17 to 24
8 | F2f | 10 | [8 empty] | 0 | 9999 | bar: 17 to 24
Legend
Default | Default value
17 - 24 | Value (-1 = default value)
Min | Minimum value
Max | Maximum value

## service
System state |  | Module state | [5 empty] | Program versions |  | Network configuration |  | LCM state
Date/Time | 2025-11-04 / 13:11:00 | ID | Module | State | Reason | Counter | Version | Intersection | Jelgava: Liela / Petera / Brieza | CCS telephone |  | ID | Configuration | State | Version | BMAINS | VMAINS
CPU load | R=10 L=0% | 1 | SOLAR-1 | ERR | 0 | 1 | 0 | V-number | V06790 | CCS telephone (2) |  | 1 | RRAG 42V | OK (0x11) | 14 | 201 | 1
Mains voltage | 42 volt / 50.0 Hz | 2 | MMI-1 | OK | 0 | 0 | 1 | VRI Id | 6790 | CCS IP address | 255.255.255.255 | 2 | RRAG 42V | OK (0x11) | 14 | 201 | 1
Mains voltage 2 | 0 volt | 3 | LCM-3 | OK | 0 | 0 | 14 |  |  | VRI IP address | 255.255.255.255 | 3 | RRAG 42V | OK (0x11) | 14 | 201 | 1
Temperature (CPU) | 23 degrees | 4 | LCM-2 | OK | 0 | 0 | 14 | Configurator : 1.5.009
System voltage | 23.5 volt | 5 | LCM-1 | OK | 0 | 0 | 14 | Environment : 1.5.002 |  | Ethernet configuration
CPU voltage | 3.34 volt | 6 | IO1616-1 | OK | 0 | 0 | 2 | Created at : 30.08.2024 23:19:37 |  | IP address | 10.192.1.61
[8 empty] | Compiled at : 30.08.2024 23:30:18 |  | Subnet mask | 255.255.255.0
[10 empty] | Default gateway | 0.0.0.0
[9 empty] | *** | MAC address | 00-04-cc-02-09-fa

## state
Detectors | [7 empty] | Lamps
ID | Detector | Occupied | Time | Fault | Fault(his) | Count | SWICO | ID | Lamp | State | Faults | Current | Voltage | Power [W] | Auto | REF1 | REF2
1 | PB1 | 0 | 283 | ---- | ---- | 1 | - | 1 | V1R1 | OK | 0 | 0 | 0 | 26 | 0 | 2 | 0
2 | PB4 | 0 | 40 | ---- | ---- | 2 | - | 2 | V4R1 | OK | 0 | 1 | 1 | 26 | 0 | 2 | 0
3 | PB7 | 0 | 138 | ---- | ---- | 2 | - | 3 | V7R1 | OK | 0 | 0 | 0 | 28 | 0 | 2 | 0
4 | PB10 | 0 | 283 | ---- | ---- | 1 | - | 4 | V10R1 | OK | 0 | 1 | 1 | 27 | 0 | 2 | 0
[8 empty] | 5 | V1R1L | OK | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 6 | V4R1L | OK | 0 | 1 | 1 | 0 | 0 | 0 | 0
[8 empty] | 7 | GP1R1 | OK | 0 | 1 | 1 | 21 | 0 | 2 | 0
[8 empty] | 8 | V7R1L | OK | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 9 | GP4R1 | OK | 0 | 0 | 0 | 25 | 0 | 2 | 0
[8 empty] | 10 | GP7R1 | OK | 0 | 1 | 1 | 19 | 0 | 2 | 0
[8 empty] | 11 | GP10R1 | OK | 0 | 0 | 0 | 27 | 0 | 2 | 0
[8 empty] | 12 | V1A1 | OK | 0 | 0 | 0 | 28 | 0 | 2 | 0
[8 empty] | 13 | V10R1L | OK | 0 | 1 | 1 | 0 | 0 | 0 | 0
[8 empty] | 14 | V4A1 | OK | 0 | 0 | 0 | 27 | 0 | 2 | 0
[8 empty] | 15 | GP1R1L | OK | 0 | 1 | 1 | 0 | 0 | 0 | 0
[8 empty] | 16 | GP4R1L | OK | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 17 | V7A1 | OK | 0 | 0 | 0 | 27 | 0 | 2 | 0
[8 empty] | 18 | V10A1 | OK | 0 | 0 | 0 | 27 | 0 | 2 | 0
[8 empty] | 19 | V1G1 | OK | 0 | 1 | 1 | 22 | 0 | 2 | 0
[8 empty] | 20 | V4G1 | OK | 0 | 0 | 0 | 21 | 0 | 2 | 0
[8 empty] | 21 | GP7R1L | OK | 0 | 1 | 1 | 0 | 0 | 0 | 0
[8 empty] | 22 | GP10R1L | OK | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 23 | V7G1 | OK | 0 | 1 | 1 | 22 | 0 | 2 | 0
[8 empty] | 24 | V10G1 | OK | 0 | 0 | 0 | 21 | 0 | 2 | 0
[8 empty] | 25 | GP1G1 | OK | 0 | 0 | 0 | 22 | 0 | 2 | 0
[8 empty] | 26 | GP4G1 | OK | 0 | 1 | 1 | 32 | 0 | 2 | 0
[8 empty] | 27 | GP7G1 | OK | 0 | 0 | 0 | 31 | 0 | 2 | 0
[8 empty] | 28 | GP10G1 | OK | 0 | 1 | 1 | 32 | 0 | 2 | 0